| AUTHOR: | CHECKED: | DATE | APPROVALS |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | DCN NO. | REV | DATE |
| R. Dannenberg | G. Billingsley | 5/11/09 | E0900132-x0 | V1 | 5/11/09 |
| R. Dannenberg | G. Billingsley | 10/15/09 | E0900359 | V2 | 10/15/09 |
| M. Phelps | G. Billingsley | 10/07/10 | # E1000565-x0 | V3 | 10/07/10 |

| Name | ERM |
| --- | --- |
| Applicable Documents |  |
| Blank Specification | N/A |
| Polish Specification | E080089-B |
| Polish Drawing (Fabricate From) | D080116-B |
| General to Surfaces 1 & 2 |  |
| Figure Change Before / After Coating | N/A |
| Optical Performance Uniformity | On both surfaces, the specified single surface reflectance or transmittances at the specified wavelengths must be maintained over a 160 mm diameter aperture. |
| Coating Deposition Method | Ion Beam Sputtered |
| Coating Area | To Bevel |
| Witness Sample Durability Testing | On one witness piece per run, coating to resist: - Adhesion test per MIL-C-48497A 4.5.3.1 Adhesion (snap tape). - MIL-C-4.5.3.2 Humidity (120F 95% RH for 24 hours), combined with before/after reflectance & transmittance spectrophotometer scans from 350 - 2500 nm in about 1 nm increments, marking the specimen ensure the same area is scanned. The scans will be provided in an Excel spreadsheet as columnar data. There should be no measureable spectral shift. - MIL-C-4.5.3.3 Moderate Abrasion (cheesecloth rub). |
| Surface 1 | ARROWS ON OPTIC SIDE POINT TO SURFACE 1 |
| Coating Type | Antireflection |
| Angle of Incidence | Normal |
| Reflection at 1064 nm | < 1000 ppm |
| Transmission matching between parts at 1064 nm | N/A |
| Reflection at 532 nm | < 1000 ppm |
| Thermal Stability at 532 nm | N/A |
| Thermal Stability at 1064 nm | N/A |
| Coating Materials | N/A |
| Surface Electric Field 1064 nm | N/A |
| Thermal Noise | N/A |
| Absorption at 1064 nm | N/A |
| Scratches and Point Defects | Surfaces shall appear transparent with no grey, scuffs or scratches visible to the naked eye when viewed in normal room light against a black background. Surface quality to be 80/50 scratch/dig as per (ML-PRF-138308) Refer to E080089 for further information. |
| Surface 2 |  |
| Coating Type | Antireflection |
| Angle of Incidence | Normal |
| Reflection at 1064 nm | < 1000 ppm |
| Reflection at 532 nm | < 1000 ppm |
| Surface Electric Field at 1064 nm | N/A |
| Thermal Stability at 532 nm | N/A |
| Thermal Stability at 1064 nm | N/A |
| Coating Materials | N/A |
| Absorption at 1064 nm | N/A |
| Scratches and Point Defects | Surfaces shall appear transparent with no grey, scuffs or scratches visible to the naked eye when viewed in normal room light against a black background. Surface quality within clear aperture to be 80/50 scratch/dig as per (ML-PRF-138308) Refer to E080089 for further information. |
| Additional Deliverables |  |
| Witness Samples | SURFACE 1 & 2: Two 1-inch witness samples per run required + as many 1 inch witness pieces that can be fit additionally per run (provided by vendor). |
| Layer Thicknesses Information | For all layers in the design, measured thickness data from the deposition for each run, designed thicknesses, and measured indices of refraction at both 1064 nm and 532 nm for both coating materials (based on individual layers). |
| Surface 1 Spectral Scans | On a representative witness piece for each run, spectrophotometer scans of reflectance and transmission of Surface 1 (AR coating) from 350-2500 nm before it is coated, between Surface 1 and Surface 2 coating, and after coating is completed. All spectrophotometer data to be provided in Excel spreadsheet format with columnar data in increments of approximately 1 nm. |
| Surface 2 Spectral Scans | All samples from the durability tests and data, including transmittance and reflectance spectrophotometer scans of the representative coating on each side in an Excel spreadsheet with columnar data spaced by approximately 1 nm from 350 - 2500 nm. |
| Durability Test Data & Samples | On a representative witness piece for each run, spectrophotometer scans of reflectance and transmission of Surface 2 (AR coating) from 350-2500 nm before it is coated, between Surface 1 and Surface 2 coating, and after coating is completed. All spectrophotometer data to be provided in Excel spreadsheet format with columnar data in increments of approximately 1 nm. |