## Slide 1: Squeezer Update Review
August 25, 2009
H1 Squeezer Experiment
ANU, AEI, MIT, CIT and LHO collaboration

## Slide 2: Highlights
Grad. students Sheila D. (MIT), Sheon C. (ANU) and Michael S. (ANU)
OPO development at ANU
  6 dB of squeezing observed
  Traveling wave bowtie design works
AEI loaner SHG at MIT
  In the process of building our own (copy AEI design)
Laser, optical table and clean room installed at MIT
Noise model and simulation done
Electronics design done for RF distribution
  Shared with advanced LIGO

## Slide 3: Block Schematics
Interferometer
Laser
Auxiliary
Laser
SHG
OPO
Homodyne Detector
Faraday
OMC
Fiber
Squeezer
AS Port
S
0
S
1
S
4
S
5
S
2
S
3
DC

## Slide 4: ANU Traveling Wave OPO
Oven/
Temperature
Sensor
Crystal
Squeezing
Out
Pump light In
PZT Actuator
200 mm
150 mm

## Slide 5: Squeezing Performance
Electronics
Mains harmonics
Cross coupling from Coherent Lock
Electronic Noise?
Lab environment
Acoustic Noise
8dB
6dB
Quantum noise
Observed squeezing
Inferred squeezing

## Slide 7: Servo Model
Laser 0: Frequency locked to PSL using FSS
Laser 1 (aux): Frequency locked to laser 0 using FSS
Coherent Lock 2: Phase lock laser 1 to green light using feedback to PZT & laser 1 additive offset
LO Lock 3: Phase lock squeeze angle to AS port light using feedback to PZT & laser 0 additive offset
SHG Lock 4: PDH to cavity PZT
OPO Lock 5: PDH to cavity PZT

## Slide 8: Servo Model (2)
Servo | Description | Bandwidth | Crossover
0 | Laser 0 | 500kHz | 10kHz
1 | Laser 1 | 500kHz | 10kHz
2 | Coherent field | 100kHz | ~2kHz
3 | Local oscillator | 100kHz | ~2kHz
4 | SHG length | ~1kHz | —
5 | OPO length | ~1kHz | —
Fiber Stabilization no longer needed:
Laser 0 is frequency locked to PSL and
phase locked to AS port light

## Slide 9: Noise Model
No bad surprises
Acoustic couplings
  Direct back scattering under control
  Require second in-vacuum Faraday
  OPO ring topology is very helpful
Phase noise requirement: <50 mrad rms
  Remaining modulation sidebands after OMC are important
Noise couplings
  Laser frequency noise not important due to large bandwidth
  Path length variations not important due to large bandwidth
  Shot noise: 1 mW per detector seems enough
  OPO length fluctuations are not getting suppressed by LO servo!

## Slide 10: Schedule
ANU/OPO well on track
Noise model completed
AEI homodyne detector will be shipped to ANU ahead of schedule
Assembly at MIT
  Optical layout on track
  Parts late by ~2 months (initial funds exhausted)
Electronics production at LHO
  Design on track
  Procurement late by ~2 months (person power & money & H2 unavailable)

## Slide 11: Plan
Need get some additional resources for
  Electronics production at LHO
  Setup at MIT
  Procurement
ANU will continue on development of OPO
  On track for 2010 delivery
Setup at MIT will continue with SHG & laser locking
Electronics production can go forward
  RF, PDs, TTFFS and length servos (common mode board)
Additional funding is required now

## Slide 12: Budget Request
Task | Amount
Optics | 90k
Electronics | 80k
Travel | 40k
Total | 210k

## Slide 13: Summary
Impressive progress on the OPO
Setup at MIT is coming along
No major roadblocks so far
More funding is required now
Some additional person-power is required at MIT and LHO for the second half of this year