Statement of Work

aLIGO Laser Area Enclosure

The following documents are incorporated into and made a part this Statement of Work (SOW).  Click on the following LIGO Document Control Center (DCC) links to access these documents or go on line to the LIGO Public DCC at https://dcc.ligo.org/ to access the DCC#.

- Terms:

| DCC # | Description |
| --- | --- |
| C080185-v1 | Laser Interferometer Gravitational Wave Observatory (LIGO) Commercial Items or Services Contract General Provisions California Institute of Technology “Institute”, LIGO Rev 11/12/08 |
| F0810001-v4 | Technical Direction Memorandum. |

- Quality Control:

The supplier shall:

- Meet or exceed all specifications and requirements

- Identify the corresponding sections/paragraphs in their existing QA/QC system or proposed QA/QC plan for each of the boxes checked in the table below.

| DCC # | Description |
| --- | --- |
| Q0900001-v4 | Advanced LIGO Supplier Quality Requirements, dated 2/10/10, describes following contractor/supplier QA/QC actions for this procurement: |
|  | 3.1 Pre-Award Inspection |  | 3.9 Discrepant Material Storage |  | 4.4 Calibration Program |
|  | 3.2 Supplier In Process Quality Control |  | 3.10 Quality Records |  | 4.5 Critical Interface |
|  | 3.3 In Process Inspection |  | 3.11 Drawing and Specification Change Control |  | 4.6 Cleanliness |
|  | 3.4 Pre-Ship Inspection |  | 3.12 Welding Certification |  | 4.7 Packaging |
|  | 3.5 Receiving Inspection |  | 3.13 End Item Data Package (including Certifications of Compliance) |  | 4.8 Storage |
|  | 3.6 Discrepant Material |  | 4.1 Design Verification |  | 4.9 Transport |
|  | 3.7 Material Review Action |  | 4.2 Raw Material Procurement |  | 4.10 Customs |
|  | 3.8 Material Review Actions at Contractor |  | 4.3 Traceability of Materials |  |  |

- End Item Data Package:

At the time of delivery of the parts, the Supplier shall also provide the following data, as a minimum:

- Clean room performance assessment including air flow rates and particulate levels in both “Service Mode” and “Science mode.”

- Results of measurements of acoustic attenuation in the Laser Room when operating in “Science Mode”

- As-built design and fabrication drawings including electrical

- Included Documents:

| DCC # | Description |
| --- | --- |
| C1000392-v2 | PSL Laser Area Enclosure Specifications, Requirements, and Design Considerations |
| D1000735-v1 | Sketch of Laser Area Enclosure room layouts |

- Scope:

This SOW is for the design, fabrication, and performance testing of three Laser Area Enclosures consisting of Class 1000 clean room facilities for the aLIGO lasers.

- Quantity Required:

| 2 ea. | LIGO Hanford Observatory, Richland, WA |
| --- | --- |
| 1 ea. | LIGO Livingston Observatory, Livingston, LA |

# Text boxes

# LIGO LABORATORY

California Institute of Technology

1200 E. California Blvd.

Pasadena, CA  91125