LIGO Laboratory / LIGO Scientific Collaboration

E1000393-v3	        LIGO                           21 Oct. 2010

Stage 0-1 Horizontal Actuator Assy Procedure

S.BISCANS, M.HILLARD

Distribution of this document:

Advanced LIGO Project

This is an internal working note

of the LIGO Laboratory.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW22-295 185 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

Note : ! Make sure there is no trash in the coil !

Remove the shoulder screws and watch carefully inside the coil.

Clean room standards

For a clean assembly all LIGO standards should be followed, as presented in the latest version of the LIGO Contamination Control Plan (E0900047). Clean room garb including UHV gloves should be worn when working with parts.

All tools that come in contact with assembly should be cleaned to class B standards.

Assembly will be done under a portable clean room.  Any time a part of the assembly is not covered by the portable clean room or not being actively worked on it should be covered with appropriate clean covers. (C3 polyester or equivalent).

Parts prep work: alignment pins and helicoils

To facilitate assembly, parts requiring helicoils and/or pins to be inserted before assembly will be listed to allow preliminary preparation of the parts, after cleaning and before starting general assembly. See E1000402 Current Rev.

Helicoil:

1. D0902424

Helicoil 1/4-20, length 2XDIA, #1185-4EN .500

2. D0902427

Helicoil 1/4-20, length 2XDIA, #1185-4EN .500

Helicoil 3/8-16, length 2XDIA, #1185-6EN .750

| Helicoil 10-32, length 1.5XDIA, #1191-3EN .285 Helicoil 1/4-20, length 1.5XDIA, #1185-4EN .375 |  |
| --- | --- |

Helicoil 5/16-18, length 2XDIA, #1185-5EN .625

3. D0902310

| Helicoil 1/4-20, length 1.5XDIA, #1185-4EN .375 |  |
| --- | --- |

Dowel:

1. D0902310

Dowel Pin 1/4X5/8

MC MASTER 90145A539

2. D0902436

| Dowel Pin 1/8X11/2 MC MASTER 98380A479 |  |
| --- | --- |

3. D0902427

Dowel Pin 3/32X1/2

MC MASTER 90145A438

Reference D1000310 : Intermediate Assembly with tooling

Reference D0901102 : Final assembly between Stage 0 and Stage 1

Assembly Instructions

1. Insert Item (23) (D10002282) Step Pin into Item (3) (D0902749) Large Actuator.

Note : Non pined face

10-32 X 1.375 lg.

MSC 04214292

Torque value : 31.7 in-lbs

2. Attach Item (2) (D0902427) Actuator Coil Bracket as shown Figure 2, to Item (23) (D10002282) Step Pin and Item (3) (D0902749) Large Actuator using Item (12) vent washer and Item (13) screw.

| 3 2 | 0.195 ID, 0.354 OD, 0.032 THK #10 UC COMPONENTS WFV-10 |
| --- | --- |

Note : edge of Item 7 and the yellow block are on the same side

3. Attach Items (7) (D1000175) Left Thermal Bar and  Item (6) (D1000176) Right Thermal Bar, to Item (3) (D0902749) Large Actuator and Item (2) (D0902427) Actuator Coil Bracket using Item (12) washer and Items (10)/(11) screws.

| 0.195 ID, 0.354 OD, 0.032 THK #10 UC COMPONENTS WFV-10 10-32 X 0.62 lg. MSC 05678065 Torque value : 31.7 in-lbs | Hex machine screw10-32 X 3/8 lg. vented UC COMPONENT H-1006 |
| --- | --- |

4. Insert Item Dowel Pin into Item (3) (D0902749) Large Actuator.

1/8 X 7/16 lg.

MC MASTER 90145A481

5. Attach Item (1) (D0902310) Actuator Magnet Bracket to the Bottom of Item (3) Actuator as shown Figure 4 using Items (17) vent washer and Item (18) screw.

1/4-20X0.875 lg.

HOLOKROME 78060

Torque value : 100 in-lbs

| 3 1 Note : the two edges are on the same side | 0.255 ID, 0.46 OD, 0.032 THK UCC WFV-25 |
| --- | --- |

6. Tooling Bracket Assembly

Attach only the top of Item (2) (D1000290) tooling Bracket Assembly with 3 screws.

| Torque value : 100 in-lbs |  |
| --- | --- |

7. Loose the 4 shoulder screws of Item (3) (D0902749) Large Actuator.

8. Slide Pin Carrier (D0902436) into the Tooling Bar and Item 1 (D0902310).

9. Remove the 4 shoulder screws of Item (2) (D0902749) Large Actuator.

10. Add the two last screws and washers in the Tooling Bar.

|  | 0.255 ID X 0.468 OD X 0.032 THK UC COMPONENT WFV-25 1/4-20X1.5 lg. HOLOKROME 78066 Torque value : 100 in-lbs |
| --- | --- |

11. Remove the Pin Carrier (D0902436).

Gap Test : Go / No Go

- Check the gap between the coil and the magnet with shims on both sides.

Go : 0.085 inches

No Go : 0.115 inches