LIGO Laboratory / LIGO Scientific Collaboration

LIGO-F1000025-v1	LIGO	19 April 2011

aLIGO SUS Quad Metal-Build Test Report Template

Mark Barton, Robert Lane

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note

of the LIGO Laboratory.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW22-295 185 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

Table of Contents

1	Introduction	3

1.1	Scope	3

1.2	References	3

1.3	Revision History	3

1.4	Acronyms	3

2	Traveler	5

3	Tests	5

3.1	OSEM and In-Vacuum Cabling Tests	5

3.2	Open-Light Counts and MEDM Input Screens.	6

3.3	Balancing	6

3.4	OSEM Adjustment	7

3.5	Actuator Sign Test - Top Masses	7

3.6	DOF Output Tests	7

3.7	DOF Input Tests	9

3.8	DOF Open Loop Tests	10

3.9	OSEM Basis Decoupling	10

3.10	DOF open Loop Step Tests	10

3.11	DOF Servo Stability Test	10

3.12	DOF Servo Step Test	10

3.12.1	M0 Servo Damping:	10

3.12.2	R0 Servo Damping:	12

3.13	Transfer Function Tests	14

3.13.1	MO TF	14

3.13.2	R0 TF	16

3.14	Range Tests	18

3.14.1	Pitch	18

3.14.2	Yaw	19

3.15	Post-ECD TF	19

3.15.1	M0 Post-ECD TF	19

3.15.2	R0 Post-ECD TF	21

# Introduction

## Scope

This document is a report of the tests conducted in order to verify that the metal build of each quad suspension was completed correctly. See E1000494, aLIGO SUS Quad Suspension Metal-Build Testing Procedure.

## References

D080273:	AdL SUS BSC Test Stand Wiring

E1000006:	aLIGO Quad Suspension Metal-Build Assembly Procedure

E1000494:	aLIGO SUS Quad Suspension Metal-Build Testing Procedure

E1000495:	aLIGO SUS Quad Suspension Testing and Commissioning Documentation

E1000502:	aLIGO SUS Test Stand Shakedown Procedure

E1000516:	aLIGO SUS Quad Suspension Assembly Process Travelers

E1000517:	aLIGO SUS Quad Suspension Metal Build Test Reports

E1000520:	aLIGO SUS Quad Suspension Monolithic Build Testing Procedure

F1000008:	Quad Suspension Process Traveler Template

F1100006:	aLIGO SUS Quad Transfer Function Modes Template

M1000211:	Subsystem-Level and System-Level Testing Requirements

T010007:	Cavity Optics Suspension Subsystem Design Requirements Document

T010103:	Advanced LIGO Suspension System Conceptual Design

T1000238:	Quad Suspension AdvLIGO Test Plan (Obsolete)

T1100117:	aLIGO SUS File/Directory Naming Convention

## Revision History

3/2/2011 pre-version 1

## Acronyms

Ag	Silver

aLIGO	Advanced Laser Interferometer Gravitational-Wave Observatory

COS	Core Optics Support

CP	Compensator Plate

DCC	Document Control Center

DOF	Degrees of Freedom

DTT	Diagnostics Test Tool

ERM	End Reaction Mass

LASTI	LIGO Advanced System Test Interferometer

LED	Light Emitting Diode

LHO	LIGO Hanford Observatory

LIGO	Laser Interferometer Gravitational-Wave Observatory

LLO	LIGO Livingston Observatory

mA	milli-Amp

MEDM	Motif-based Display Editor and Manager

OSEM	Optical Sensor Electromagnetic Motor

PD	Photo Diode

PU	Penultimate

PUM	Penultimate Mass

S/N	Serial Number

SS	Stainless Steel

SUS	Suspensions

TBD	To Be Determined

TF	Transfer Function

UI	Upper Intermediate

UIM	Upper Intermediate Mass

# Traveler

Quad:	    N	Traveler Number:	E1000XXX

# Tests

## OSEM and In-Vacuum Cabling Tests

Cable P/N:			S/N:

Cable P/N:			S/N:

Cable P/N:			S/N:

Cable P/N:			S/N:

|  | Pins | Cable 1 | Cable 2 | Cable 3 | Cable 4 |
| --- | --- | --- | --- | --- | --- |
| RES (Ohms) | 1, 14 |  |  |  |  |
| LED (V) | 15, 2 |  |  |  |  |
| PD (V) | 3, 16 |  |  |  |  |
| RES (Ohms) | 4, 17 |  |  |  |  |
| LED (V) | 18, 5 |  |  |  |  |
| PD (V) | 6, 19 |  |  |  |  |
| RES (Ohms) | 7, 20 |  |  |  |  |
| LED (V) | 21, 8 |  |  |  |  |
| PD (V) | 9, 22 |  |  |  |  |
| RES (Ohms) | 10, 23 |  |  |  |  |
| LED (V) | 24, 11 |  |  |  |  |
| PD (V) | 12, 25 |  |  |  |  |

Table 1 In-Vacuum Cabling Tests

## Open-Light Counts and MEDM Input Screens.

The absolute value of the open-light counts should be greater than 25,000 Counts.

Record the OSEM serial numbers, open-light counts, the offset and gain applied in MEDM.

| Location | BOSEM S/N |  | Location | BOSEM S/N |  | Location |  | BOSEM S/N |  | Location | AOSEM S/N |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M0 Face1 |  |  | R0 Face1 |  |  | UI UL |  |  |  | PEN UL |  |
| M0 Face2 |  |  | R0 Face2 |  |  | UI UR |  |  |  | PEN UR |  |
| M0 Face3 |  |  | R0 Face3 |  |  | UI LL |  |  |  | PEN LL |  |
| M0 Left |  |  | R0 Left |  |  | UI LR |  |  |  | PEN LR |  |
| M0 Right |  |  | R0 Right |  |  |  |
| M0 Side |  |  | R0 Side |  |  |  |

Table 2 OSEM Location and S/N

| M0 | White Count | Offset | Gain |  | R0 | White Count | Offset | Gain |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F1 |  |  |  |  | F1 |  |  |  |
| F2 |  |  |  |  | F2 |  |  |  |
| F3 |  |  |  |  | F3 |  |  |  |
| Left |  |  |  |  | Left |  |  |  |
| Right |  |  |  |  | Right |  |  |  |
| Side |  |  |  |  | Side |  |  |  |

Table 3 OSEM White Count, Offset, and Gain

## Balancing

| M0 | Mass (kg) | Height (mm) | Pitch (deg) |  | R0 | Mass (kg) | Height (mm) | Pitch (deg) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Top Mass |  |  |  |  | Top Mass |  |  |  |
| UI Mass |  |  |  |  | UI Mass |  |  |  |
| Pen. Mass |  |  |  |  | Pen. Mass |  |  |  |
| Test Mass |  |  |  |  | Test Mass |  |  |  |

Table 4 Mass Location and Pitch

- Need to document trim masses: utilize photography and/or a detailed list with diagram to show location of all trim masses to get new moments of inertia

## OSEM Adjustment

Record the OSEM Dark-Light (minimum) raw counts. Dark-Light counts should be less than 200 Counts.

| M0 | Dark Count |  | R0 | Dark Count |
| --- | --- | --- | --- | --- |
| F1 |  |  | F1 |  |
| F2 |  |  | F2 |  |
| F3 |  |  | F3 |  |
| Left |  |  | Left |  |
| Right |  |  | Right |  |
| Side |  |  | Side |  |

## Actuator Sign Test - Top Masses

Confirm that sign of step was correct.

|  | M0 |  |  | R0 |
| --- | --- | --- | --- | --- |
|  | Face 1 |  |  | Face 1 |
|  | Face 2 |  |  | Face 2 |
|  | Face 3 |  |  | Face 3 |
|  | Left |  |  | Left |
|  | Right |  |  | Right |
|  | Side |  |  | Side |

## DOF Output Tests

Include screen capture of each DOF to confirm correct filter settings.

Figure 1 M0 Output Filter

Figure 2 R0 Output Filter

## DOF Input Tests

Include screen capture of each DOF to confirm correct filter settings.

Figure 3 M0 DOF

Figure 4 R0 DOF

## DOF Open Loop Tests

Glass build: apply x, y, etc. actuation and monitor sensor equilibrium (DC Response.)

## OSEM Basis Decoupling

Record screen capture of the cursor windows for each axis of decoupling illustrating levels of coupling. (Include screen shot of six OSEM basis’ for M0 and R0 driving Yaw, Vertical, and X.)

## DOF open Loop Step Tests

|  | M0 |  |  | R0 |
| --- | --- | --- | --- | --- |
|  | Face 1 |  |  | Face 1 |
|  | Face 2 |  |  | Face 2 |
|  | Face 3 |  |  | Face 3 |
|  | Left |  |  | Left |
|  | Right |  |  | Right |
|  | Side |  |  | Side |

## DOF Servo Stability Test

For each channel confirm that signals remained level and stable as each DOF output filter was disabled.

## DOF Servo Step Test

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGM0/DATA

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGR0/DATA

### M0 Servo Damping:

Figure 5 YYYY-MM-DD-HHMM-M0-xSD

Figure 6 YYYY-MM-DD-HHMM-M0-ySD

Figure 7 YYYY-MM-DD-HHMM-M0-zSD

Figure 8 YYYY-MM-DD-HHMM-M0-rollSD

Figure 9 YYYY-MM-DD-HHMM-M0-pitchSD

Figure 10 YYYY-MM-DD-HHMM-M0-yawSD

### R0 Servo Damping:

Figure 11 YYYY-MM-DD-HHMM-R0-xSD

Figure 12 YYYY-MM-DD-HHMM-R0-ySD

Figure 13 YYYY-MM-DD-HHMM-R0-zSD

Figure 14 YYYY-MM-DD-HHMM-R0-rollSD

Figure 15 YYYY-MM-DD-HHMM-R0-pitchSD

Figure 16 YYYY-MM-DD-HHMM-R0-yawSD

Include XML copies of each DOF on both chains on SVN and in a compressed directory on DCC.

## Transfer Function Tests

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGM0/DATA

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGR0/DATA

### MO TF

Figure 17 YYYY-MM-DD-HHMM-M0-xTF

Figure 18 YYYY-MM-DD-HHMM-M0-yTF

Figure 19 YYYY-MM-DD-HHMM-M0-zTF

Figure 20 YYYY-MM-DD-HHMM-M0-rollTF

Figure 21 YYYY-MM-DD-HHMM-M0-pitchTF

Figure 22 YYYY-MM-DD-HHMM-M0-yawTF

### R0 TF

Figure 23 YYYY-MM-DD-HHMM-R0-xTF

Figure 24 YYYY-MM-DD-HHMM-R0-yTF

Figure 25 YYYY-MM-DD-HHMM-R0-zTF

Figure 26 YYYY-MM-DD-HHMM-R0-rollTF

Figure 27 YYYY-MM-DD-HHMM-R0-pitchTF

Figure 28 YYYY-MM-DD-HHMM-R0-yawTF

Imbed an XML copy of the transfer function results for each DOF on SVN and in a compressed directory on the DCC.

- Include Quad Specific version of F1100006 aLIGO SUS Quad Transfer Function Modes spread sheet with TF peaks for all DOF.

Note: Correct (4 for yaw, 3 for vertical, 8 for longitudinal/pitch and 7 for transverse/roll).

- Fundamental pitch mode is above the fundamental pendulum mode?

## Range Tests

### Pitch

|  | +Pitch (mRad) | -Pitch (mRad) |
| --- | --- | --- |
| M0 |  |  |
| R0 |  |  |

### Yaw

|  | +Yaw (mRad) | -Yaw (mRad) |
| --- | --- | --- |
| M0 |  |  |
| R0 |  |  |

## Post-ECD TF

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGM0/DATA

/ligo/svncommon/SusSVN/sus/trunk/QUAD/Xnn/QUADnn/BUILDnn/SAGR0/DATA

### M0 Post-ECD TF

Figure 29 YYYY-MM-DD-HHMM-M0-xTF-pECD

Figure 30 YYYY-MM-DD-HHMM-M0-yTF-pECD

Figure 31 YYYY-MM-DD-HHMM-M0-zTF-pECD

Figure 32 YYYY-MM-DD-HHMM-M0-rollTF-pECD

Figure 33 YYYY-MM-DD-HHMM-M0-pitchTF-pECD

Figure 34 YYYY-MM-DD-HHMM-M0-yawTF-pECD

### R0 Post-ECD TF

Figure 35 YYYY-MM-DD-HHMM-R0-xTF-pECD

Figure 36 YYYY-MM-DD-HHMM-R0-yTF-pECD

Figure 37 YYYY-MM-DD-HHMM-R0-zTF-pECD

Figure 38 YYYY-MM-DD-HHMM-R0-rollTF-pECD

Figure 39 YYYY-MM-DD-HHMM-Ro-pitchTF-pECD

Figure 40 YYYY-MM-DD-HHMM-R0-yawTF-pECD