LIGO Laboratory / LIGO Scientific Collaboration

E1000618-v1	        LIGO                           07 Sept.  2010

L4-C Seismometer Assembly Procedure

M.Hillard

Distribution of this document:

Advanced LIGO Project

This is an internal working note

of the LIGO Laboratory.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW22-295 185 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

Clean room standards

For a clean assembly all LIGO standards should be followed, as presented in the latest version of the LIGO Contamination Control Plan (E0900047). Clean room garb including UHV gloves should be worn when working with parts.

All tools that come in contact with assembly should be cleaned to class B standards.

Assembly will be done under a portable clean room.  Any time a part of the assembly is not covered by the portable clean room or not being actively worked on it should be covered with appropriate clean covers. (C3 polyester or equivalent).

Torque Values for Bolts:

Standard torque values according to manufacturer standards for screw material should be used.

Parts prep work: alignment pins and helicoils

To facilitate assembly, parts requiring helicoils and/or pins to be inserted before assembly will be listed to allow preliminary preparation of the parts, after cleaning and before starting general assembly. See Appendix C for list.

Weight

Approximated weights are provided in this assembly procedure as an indication for safety purpose.

Note:

This Assembly is used i two configurations 1 is as shown, The other will involve mounting a plate turnig it into D1000525.

Figure 1

Reference D047820 and T080261 (Building L4-C Pods)

Figure 2

1. Attach Item (1) D0902283 Interposer to Item (2) D047820 L4-C Assembly as shown in Figure 2, note orientation mark on Item (2),  using the hardware supplied with the unit Items (17) and (18) screws and Item (14) vented washers from mentioned in Figure 1