*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO-T040072-v1 *ADVANCED LIGO* 3 July 2014

**Triple Pendulum Parameter Descriptions and Naming Convention**

Jeffrey Kissel and Mark Barton

Distribution of this document:

DCC

This is an internal working note

of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology**  **LIGO Project – MS 18-34**  **1200 E. California Blvd.**  **Pasadena, CA 91125**  Phone (626) 395-2129  Fax (626) 304-9834  E-mail: [info@ligo.caltech.edu](mailto:info@ligo.caltech.edu) | **Massachusetts Institute of Technology**  **LIGO Project – NW22-295**  **185 Albany St**  **Cambridge, MA 02139**  Phone (617) 253-4824  Fax (617) 253-7014  E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory**  **P.O. Box 1970**  **Mail Stop S9-02**  **Richland WA 99352**  Phone 509-372-8106  Fax 509-372-8137 | **LIGO Livingston Observatory**  **P.O. Box 940**  **Livingston, LA 70754**  Phone 225-686-3100  Fax 225-686-7189 |

http://www.ligo.caltech.edu/

**Table of Contents**

1 Introduction 3

1.1 Purpose and Scope 3

1.2 References 3

1.3 Version history 3

2 Parameters 3

2.1 Parameters common to Mathematica and Matlab 3

2.2 Parameters unique to Matlab 4

2.3 Parameters unique to Mathematica 4

3 Diagrams 5

# Introduction

## Purpose and Scope

Describes the parameter names used in the Mathematica and Matlab triple pendulum dynamics models.

## References

LIGO-T1400446: [aLIGO SUS Pendulum Dynamics Modeling](https://dcc.ligo.org/LIGO-T1400446)

LIGO-T020205: [Models of the Advanced LIGO Suspensions in Mathematica™](https://dcc.ligo.org/LIGO-T020205)

LIGO-T080188: [Models of the Advanced LIGO Suspensions in MATLAB](https://dcc.ligo.org/LIGO-T080188)

LIGO-T1000724: [MATLAB model of Beam Splitter/ Folding Mirror Triple Suspension (BS/FM)](https://dcc.ligo.org/LIGO-T1000724)

LIGO-T080310: [MATLAB model of HAM Large Triple Suspension (HLTS)](https://dcc.ligo.org/LIGO-T080310)

LIGO-T080311: [MATLAB model of HAM Small Triple Suspension (HSTS)](https://dcc.ligo.org/LIGO-T080311)

## Version history

4/30/2004: -00

7/20/2004: -01

7/3/2014: -v1. All-new diagrams by Jeff K., all-new text by Mark B.

# Parameters

The following parameters are the minimum set necessary to define a case of the Mathematica TripleLite2 model used for the aLIGO BSFM, HLTS and HSTS, or the equivalent Matlab model (ssmake3MBf.m). As near as practical, all of the parameters have the same names in both models. The parameters for blade and wire stiffness are defined per side in the Matlab but per blade in the Mathematica, and to prevent (total) confusion have been given different names. Except for the d’s, n’s and s’s, parameters are numbered 1, 2, 3 by blade/wire/mass from the top down. The Mathematica model has a large number of additional parameters for the damping of the elastic elements which are beyond the scope of this document. The Matlab model also handles certain additional Mathematica models that were generated for R&D purposes such as TripleLite2IMDB, TripleLite2IMQB, etc, but the extra parameters which trigger this are beyond the scope of this document.

## Parameters common to Mathematica and Matlab

|  |  |  |
| --- | --- | --- |
| Parameter | Unit | Description |
| g | m/s^2 | local gravity |
| m1 | kg | mass of upper mass |
| I1x, I1y, I1z | kg.m^2 | diagonal components of upper mass MOI |
| I1xy, I1yz, I1zx | kg.m^2 | off-diagonal components of upper mass MOI |
| m2 | kg | mass of intermediate mass |
| I2x, I2y, I2z | kg.m^2 | diagonal components of intermediate mass MOI |
| I2xy, I2yz, I2zx | kg.m^2 | off-diagonal components of intermediate mass MOI |
| m3 | kg | mass of lower mass |
| I3x, I3y, I3z | kg.m^2 | diagonal components of lower mass MOI |
| I3xy, I3yz, I3zx | kg.m^2 | off-diagonal components of lower mass MOI |
| dtop, d0, d1, d2, d3, d4 | m | vertical offsets of wire attachments from COM (positive outward, towards wire) - see diagrams |
| n0, n1, n2, n3, n4, n5 | m | half lateral (y-direction) wire attachment point separations, - see diagrams |
| si, sl | m | half front-back (x-direction) wire attachment point separations of intermediate and lower wires, common to top and bottom - see diagrams |
| l1, l2, l3 | m | stretched lengths of wires |
| Y1, Y2, Y3 | Pa | Young's moduli of wires |
| r1, r2, r3 | m | radii of wires |

## Parameters unique to Matlab

|  |  |  |
| --- | --- | --- |
| Parameter | Unit | Description |
| kc1, kc2 | N/m | blade vertical stiffnesses ***per side***, equivalent to kbuz and ***2\****kblz in Mathematica |
| stage2 | - | switch governing the interpretion of the d’s: state2=1 => d’s are physical, apply flexure correction; stage2=0 => d’s are effective, flexure correction already included, don’t reapply. |
| bd | N/(m/s), N.m/(rad/s) | a small amount of damping which is added to all DOFs to avoid unrealistically peaky TFs; defaults to 0.001. |

## Parameters unique to Mathematica

|  |  |  |
| --- | --- | --- |
| Parameter | Unit | Description |
| kbuz, kblz | N/m | blade vertical stiffnesses ***per blade***, equivalent to kc1 and kc2/2 in Matlab |
| kw1, kw2, kw3 | N/m | wire vertical stiffnesses, per wire; case definer needs to calculate these manually whereas they are calculated automatically in the Matlab |

# Diagrams

In the final PDF of this document, OmniGraffle diagrams of the dimensional parameters will be appended.