## Sheet1
T1200177-V6 ISC/IO In-vacuum Cable List |  |  |  |  | Comment
Location Specifics | Item | Drawing Number | Total Need (3 IFOs) | On Hand
Flange to ISI Table | End Station QPD (Dsub) | D1000924-216" | 12
| End Station Pico Motors (Dsub) | D1000223-216" | 12
End Station Beam Diverter (Dsub)
Down Transmon Suspension | End Station QPD (Dsub) | D1000568 | 12
| End Station Pico Motors (Dsub) | D1000921 | 12
End Station Beam Diverter (Dsub)
On Transmon Table | End Station QPD (Dsub) | D1000231 | 12
| End Station Pico Motors (Dsub) | D1000238 | 6
| End Station Beam Diverter (Dsub) | D1000237 | 6
Flange to Device | HAM1 LSC RFPD (5 way coax) | TBD - 95" | 6
| HAM1 ASC RFPD (5 way coax) | TBD -150" | 12
| HAM1 LSC RFPD (Dsub) | D1000225-108" | 6
| HAM1 ASC RFPD (Dsub) | D1000225-156" | 6
| HAM1 Tip/Tilt (Dsub) | D1000225-108" | 6
Flange to ISI Table Bracket | HAM1 Pico Motor (Dsub) | *D1000223-90" | 3 | D1101659 possible substitute (108")
| HAM1 Beam Diverter (Dsub) | *D1000223-110" | 6 | D1101659 possible substitute (108")
ISI Table Bracket to device | HAM1 Pico Motor (Dsub) | D1000238 | 3
| HAM1 Beam Diverter (Dsub) | D1000237 | 6
Flange to Tip/Tilt Bracket | HAM1 Tip/Tilt (Dsub) | D1000228 | 6
Flange to ISI Table Bracket | HAM2 Pico Motor (Dsub) | D1101659-108" | 3
| HAM2 QPD (Dsub) | D1101657-180" | 3
| HAM2 HAM AUX Suspension | D1000225-108" | 6
| HAM2 HAM AUX Suspension | D1000225-180" | 6
ISI Table Bracket to device | HAM2 Pico Motor (Dsub) | D1101515 | 3
| HAM2 QPD (Dsub) | D1101654 | 3
| HAM2 HAM AUX Suspension | D1000239 | 12
Flange to ISI Table Bracket | HAM3 Pico Motor (Dsub) | D1101659-108" | 3
| HAM3 QPD (Dsub) | D1101658-108" | 3
| HAM3 QPD-MC2 Trans (Dsub) | D1101657-180" | 3
ISI Table Bracket to device | HAM3 Pico Motor (Dsub) | D1101516 | 3
| HAM3 QPD (Dsub, ISC) | D1101624 | 3
| HAM3 QPD-MC2 Trans (Dsub, IO) | D1000231 | 3
Flange to TOP | HAM6 OMC DCPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC Piezo/Heater (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC QPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
TOP to OMC Breadboard | HAM6 OMC DCPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC Piezo/Heater (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC QPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
On Breadboard | HAM6 OMC DCPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC Piezo/Heater (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
| HAM6 OMC QPD (Dsub) | eLIGO Part | 3 |  | Re-use eLIGO Cables for first cut
Flange to ISI Table Bracket | HAM6 QPD (Dsub) | eLIGO Part | 6 |  | Re-use eLIGO Cables for first cut
| HAM6 Pico Motor (Dsub) | D1000223-120" | 6
| HAM6 Tip/Tilt (Dsub) | eLIGO Part | 9 |  | Re-use eLIGO Cables for first cut
| HAM6 Beam Diverter (Dsub) | D1000223-120" | 6
| HAM6 ASC RFPD (Dsub) | D1000225-180" | 6
ISI Table Bracket to device | HAM6 QPD (Dsub) | eLIGO Part | 6 |  | Re-use eLIGO Cables for first cut
| HAM6 Pico Motor (Dsub) | D1000238-36" | 6
| HAM6 Tip/Tilt (Dsub) | eLIGO Part | 9 |  | Re-use eLIGO Cables for first cut
| HAM6 Beam Diverter (Dsub) | D1000237-36" | 6
| HAM6 ASC RFPD (Dsub) | D1000225-108" | 6
Flange to RFPD | HAM6 ASC RFPD (5 Way Coax) | TBD - ~70"min | 12