## Sheet1
dBVrms/rtHz | nV seen at diff out | DC Path SNL Sens. mA
-142 | 79.4328 | 3.4232
Calculation of the test path transconductance and the test switch isolation
Magnitude with switch on (dB) | Magnitude with switch off (dB | RF Transimpedance (ohms) | Test Path Transconductance (mA/V) | Test Switch Isolation (dB)
11.6 | -19.7 | 247 | 15.3923 | 31.3
This is Mike Z's method for shot noise limited sensitivity as outlined in T010121 section 3.3.1, it takes into account the instrument noise
Observed (dBm/rtHz) on RF Spectrum Analyzer with no light (Sdark) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Sdark)
-125.3 | 20.9 | -146.2 | 1.0952e-08 | 1.1994e-16
Observed (dBm/rtHz) on RF Spectrum Analyzer with 6mA to 10mA (Slamp) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Slamp) | Photocurrent (mA)
-109 | 20.9 | -129.9 | 7.1529e-08 | 5.1165e-15 | 10.23
Observed (dBm/rtHz) on RF Spectrum Analyzer with LNA terminated in 50 ohms (Sinst) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Sinst)
-139.6 | 20.9 | -160.5 | 2.111e-09 | 4.4563e-18
V^2/Hz (S'dark) | V^2/Hz (S'lamp) | Shotnoise Limited Sensitivity (mA) | RF Transimpedance (ohms)
1.1549e-16 | 4.9965e-15 | 0.23645 | 1235.4386