## Slide 1: Pier Motion and Control
David Tshilumba, Christophe Collette

## Slide 2: Outline
Context (CERN structure)
Piers motion measurements
Modeling + comparison with other models
Possible solutions

## Slide 3: CMS Experiment (LHC tunnel at CERN)
Large cantilever beam

## Slide 4: Experimental set-up

## Slide 5
Divided by 30
Positioning:
out of phase sinusoidal signals in the two vertical actuators:
Amplitude: 30 µm
Frequency: 30 Hz
Active damping of all the modes
1
2
3

## Slide 6
x
y

## Slide 7: FE model

## Slide 9: State space model  compliance
x
y
z

## Slide 10: State space model  compliance
x
y
z
Similar response below 50 Hz

## Slide 11: Simplified model
Cross beam
Pier

## Slide 12: Comparison of the models

## Slide 13: Idea 1: 2 active cables / pier linked to the ground
Top View of the structure with 8 controlled cables
Cable stiffness:
kc=8e4 N/mm
3D view

## Slide 14
Top of each pier connected to the ground with 2 active cables

## Slide 15: Idea 2: 1 active cable / pier linked to the chamber
kc=4.05e5 N/mm
Kc [N/m] | 4,05E+08 |  |  | 
Young modulus[Pa] | 1,80E+11 |  |  | 
 | A/L [m] | L [m] | A [m^2] | d [mm]
 | 2,25E-03 | 0,6 | 1,35E-03 | 4,15E+01

## Slide 16
Top of each pier connected to the BSC chamber with 1 active cable

## Slide 17: Idea 3: 1 damper / pier linked to the chamber

## Slide 18
Top of each pier connected to the BSC chamber with 1 active cable

## Slide 19: Comparison
 | Advantages | Disadvantages
Idea 1 : 2 cables /pier | Cables oriented along the modal displacements. No coupling between the BSC chamber and the piers. | Need space around the piers to mount the cables. Limited cable stiffness because cables are long.
Idea 2 : 1 cable /pier | Decrease the compliance by a factor 4 at low frequency. | Cables are not oriented along the modal displacements. Coupling between the BSC chamber and the piers.
Idea 3 : 1 damper /pier | It can be passive solution. Good damping performance | Dashpots are not oriented along the modal displacements. Coupling between the BSC chamber and the piers. No reduction of the compliance.

## Slide 20: Conclusions
Tools are developed:
  FE model of the piers (volume elements)
  Simplified model (beam elements) + state space model
3 ideas have been tested and compared
  2 cables/pier to ground;1 cable/pier to chamber; 1 damper/pier to the chamber
An experimental modal analysis is necessary
One have to define the control objective