## Slide 1: Listening to the universe: detecting gravitational waves with laser interferometry
Sheila Dwyer for the
LIGO Scientific Collaboration
Photo G Moreno

## Slide 2: Direct detection of gravitational waves
Wikimedia commons
Notes: 10^-18m/rtHz

## Slide 3: We got one!
September 14th at 2:50 am
LIGO scientific collaboration, PRL 116 061102
http://dx.doi.org/10.1103/PhysRevLett.116.061102

## Slide 5: The source:
First observation of binary black holes
First observation of stellar black holes larger than 14 solar masses
First test of general relativity in strong field, dynamic regime
First observation of a merger of 2 black holes
PRL 116 061102
http://dx.doi.org/10.1103/PhysRevLett.116.061102

## Slide 6: How can LIGO measure such small strains?
Wikimedia commons
Laser
Notes: 10^-18m/rtHz

## Slide 7: Strain sensitivity
Initial LIGO (2010)
Advanced LIGO (2015)
Advanced LIGO
fundamental noises
Advanced LIGO with
near term upgrades
(including squeezing)
http://arxiv.org/pdf/1602.03838v1.pdf

## Slide 8: How can LIGO measure such small strains? First, separate the test masses as much as possible
4km arm length, displacement sensitivity requirement is 10-19 meters
Photo: R Ward S Ballmer

## Slide 9: Advanced LIGO noises

## Slide 10: Current displacement sensitivity: Limited by many types of technical noise
Noise budget courtesy of Evan Hall, Caltech

## Slide 11: Advanced LIGO fundamental noises

## Slide 12: Isolating test masses from the environment
Ground Motion at 10 Hz ~ 10-9 [m/rtHz]
Test mass motion should be < 10-19 [m/rtHz] at 10 Hz
10 orders of magnitude of isolation needed for test masses!
1
3
2
4
5
6
7
5
6
7

## Slide 13: Advanced LIGO fundamental noises

## Slide 14: Suspension thermal noise
Equipartition theorem sets total thermal energy in a oscillator (kx2= kBT/2)
Away from the resonance frequency, level of noise is set by quality factor of the oscillator
Reducing mechanical dissipation reduces thermal fluctuations
4
4
Photos: LIGO Lab
Notes: As with any mechanical system, the dissipation of energy in the suspensions introduces interaction with the environment and therefore fluctuations of the force on the suspensions. The final stage of the Advanced LIGO suspensions are fused silica, which is bonded to the test mass to form one continuous piece of glass. This makes the suspensions into very high quality factor oscillators, and is also a potentially fragile system. These are test masses that weigh as much as a small person, held by glass fibers that I can’t see easily with my face a few inches away.

## Slide 15: Advanced LIGO fundamental noises

## Slide 16: Advanced LIGO fundamental noises

## Slide 17: Coating thermal noise
Photo: M Heitze LIGO Lab
Dielectric coatings used in mirror coatings have high mechanical losses compared to substrate
Brownian motion changes thickness of the coating

## Slide 18: Advanced LIGO fundamental noises

## Slide 19: Interferometer configuration is chosen to mitigate quantum noise
Laser
Signal extraction cavity
efficiently extracts signal sidebands
Power recycling increases effective laser power: currently using 100kW of circulating power
40 kg test masses reduce radiation pressure noise
Fabry Perot arm cavities amplify
signal relative to shot noise

## Slide 20: Next month: Increasing power to 50 Watts
Increasing circulating
power from 100 kW
to 250 kW

## Slide 21: Next month: Increasing power to 50 Watts
Increasing circulating
power from 100 kW
to 250 kW

## Slide 22
22
An alternative explanation for quantum noise: vacuum fluctuations
X1
X2
θ
A
∆X2
∆X1
∆X1 ∆X2 ≥1
The uncertainty principle
X1
X2
Vacuum fluctuations

## Slide 23: An alternative explanation for quantum noise: vacuum fluctuations
Alternative solution: Squeezing
Laser

## Slide 24
24
Squeezed light and squeezed vacuum
X1
X2
∆X1 ∆X2 ≥1
The uncertainty principle
X1
X2
Squeezed vacuum

## Slide 25
Squeezing in an interferometer
Laser

## Slide 26: Squeezing in Enhanced LIGO
2.1dB
19% improvement in SNR at high frequencies
LIGO Scientific Collaboration, Nature Photonics 7 613-619 (2013)

## Slide 27: No additional noise introduced
1Mpc range added to neutron star
binary inspiral range,
24% increase in detection rate

## Slide 28
Squeezing with a radiation pressure noise limited interferometer

## Slide 29
Frequency Dependent Squeezing
Evans et al, PRD 88 022002 (2013)

## Slide 30
Frequency Dependent Squeezing
10 meter Filter Cavity
60 ppm round trip losses

## Slide 31: Strain sensitivity should evolve over the next 5-10 years
Initial LIGO (2010)
Advanced LIGO (2015)
Advanced LIGO
fundamental noises
Advanced LIGO with
near term upgrades
(including squeezing)
http://arxiv.org/pdf/1602.03838v1.pdf

## Slide 32: Extending our reach to cosmological distances
Dwyer et al
http://dx.doi.org/10.1103/PhysRevD.91.082001

## Slide 33: Thanks for your attention!
LIGO has detected gravitational waves from a binary black hole merger
This required making the most precise displacement measurements ever made
Several techniques, including squeezing, are available to improve the sensitivity further
Jorge Cham @ PhD comics

## Slide 34: Extra Slides

## Slide 35: Frequency dependent squeezing recently demonstrated in the audio band
Oekler et al PRL Jan 2016
http://dx.doi.org/10.1103/PhysRevLett.116.041102

## Slide 37
Second Harmonic Generator
Laser
Optical Parametric Oscillator
Homodyne
Detector
Interferometer
AS Port
A squeezer table

## Slide 38
An alternative to high power operation in Advanced LIGO

## Slide 39
Squeezer: Optical parametric oscillator
Classical OPO:
Phase sensitive amplifier
Quantum OPO:
Turns a vacuum state into
squeezed vacuum

## Slide 40: Observing Scenario
Localization of source,
Hanford and Livingston LIGO detectors,
First science run at end 2015
http://arxiv.org/abs/1304.0670

## Slide 41
Localization of source,
Hanford, Livingston and Virgo detectors,
Observing 2016-17

## Slide 42
Localization of source,
Hanford, Livingston and Virgo detectors,
Observing 2017-18

## Slide 43
Localization of source,
Hanford, Livingston and Virgo detectors,
Observing 2019

## Slide 44
Localization of source,
Hanford, Livingston, Virgo, India detectors,
Observing 2022

## Slide 45: Future Plans: Next few months
Increase input power from 20Watts to 50 Watts
  Increase circulating power from ~100kW to ~250 kW
Work on reducing low frequency noise
  Important for sensitivity to binary black holes
Prepare for next observing run in later part of the year

## Slide 46: Displacement sensitivity
http://arxiv.org/abs/1602.03838