## Slide 1: P-Cal Periscope Shields Concept
LIGO-D1600453-v5

## Slide 2: P-Cal Periscope in end station (X end shown)
Refer to aLIGO Systems Layout LLO X-End Station (OR EQUIV) https://dcc.ligo.org/LIGO-D0901465 if more detail required.

## Slide 3
Refer to aLIGO Systems Layout LLO X-End Station (OR EQUIV) https://dcc.ligo.org/LIGO-D0901465 if more detail required.
Manifold Cryopump baffle
P-Cal Mirrors
P-Cal Periscope
ETM
ACB

## Slide 4
Laser beam (optical path): Also refer to the optical layout in figure 16, page 19 of PCal final design doc: https://dcc.ligo.org/DocDB/0032/T1100068/023/PhotonCalibratorFinalDesign.pdf.

## Slide 5
PROPOSED BAFFLES FOR PCAL Periscope:
REMOVED PCAL MIRROR MOUNTS ASSY.
4 PL.
As built (Weight: 222 lbs)
Modified with SLC Shields (Weight: 250.00 lbs Approx.)

## Slide 6
SHIELDS PROTRUDE
3 3/16 in
10 Deg.
Typ.
PROPOSED BAFFLES FOR PCAL Periscope:
FRONT VIEW
30.31 ID.
(770mm)
Outer shields O.D =69.0 in
Qty. 2
OVERLAPPING PANELS
FOR COMPLETE COVERAGE
Radial Clearance
=1.75 in
Inner shields O.D =46.0 in
Qty. 4
LIGO D1500105-7 (NEW CONFIG.)
QTY. 2 PER WEDGE
QTY. 6 PER PANEL
QTY. 36 TOTAL
.075 SUPER #8 304 SSTL
SHIELDS ATTACH TO PCAL PERISCOPE
VIA WEDGE
SUPPLIED WITH 1/4-20 HELICOIL TAPPED HOLES
QTY. 16 TOTAL
(10 USED FOR INNER PANELS)
EXISTING FLAT HEAD SCREWS
WILL BE REPLACED WITH
1/4-20 SHC SCREWS
QTY/ 3 PER WEDGE
A
A
SECTION A-A
(PARTIAL VIEW)

## Slide 7
PROPOSED BAFFLES FOR PCAL Periscope:
INPUT/OUTPUT BEAMS POSITIONED
AS PER LIGO T1100068
PCAL BEAMS:
PCAL PERISCOPE, ISO VIEW
(BACK SIDE)
PCAL PERISCOPE, ISO VIEW
(FRONT SIDE)

## Slide 8
PROPOSED BAFFLES FOR PCAL Periscope:
CAD image extracted from Solidworks of PCAL Periscope as viewed from a camera centered and perpendicular to the HR of ETMy face for a ± 11 deg field of regard (22 full Angle)
Refer to LIGO G1602132
As built

## Slide 9
PROPOSED BAFFLES FOR PCAL Periscope:
With PCAL shields
CAD image extracted from Solidworks of PCAL Periscope as viewed from a camera centered and perpendicular to the HR of ETMy face for a ± 11 deg field of regard (22 full Angle)
WAS:
CAD image extracted from Solidworks of PCAL Periscope as viewed from a camera centered and perpendicular to the HR of ETMy face for a ± 11 deg field of regard (22 full Angle)
With PCAL shields
IS:

## Slide 10
PROPOSED BAFFLES FOR PCAL Periscope:
With PCAL shields
CAD image extracted from Solidworks of PCAL Periscope as viewed from a camera centered and perpendicular to the HR of ETMy face for a ± 11 deg field of regard (22 full Angle)
Aperture Size= 2.5in
OPLEV
VP4
RCVR PYLON
(oplev enclosure)