## Slide 1
a
August 2019 PEM update and new techniques for localizing scattering
Robert Schofield, Philippe Nguyen, Sharan Banagiri, Corey Austin, Kara Merfeld, Anamaria Effler, David Shoemaker, Siddharth Soni, Adrian Helmling-Cornell, Matthew Ball, DetChar

## Slide 2
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 3: PEM Injection Program
5
Acoustic
Shaker
Impulse
Radio
Magnetic

## Slide 4
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 5: Results at: PEM.LIGO.ORG

## Slide 6
Count coupling functions for easy estimate of signal in DARM
Physics units coupling functions
Site-wide summary

## Slide 10
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 11
Radio channels detect external 9 & 45 MHz RF with at least 100 times SNR of DARM
9 MHz
45 MHz
LHO
LLO

## Slide 12
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 13
Heavy stepping tours, rolling chairs in control room, dropping a few pounds, show in H1 DARM
chair with person rolling across control room
Mass (large super ball) dropped from about 4 ft. in control room
4 people walking to imitate animated crowd (not jumping).
hallway outside control room
control room
PSL accelerometer
HAM5/6 area accelerometer
DARM (copy)
DARM

## Slide 14
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 18
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 19: First coils at LHO & LLO
LHO CS
LLO EX

## Slide 20: Proposed coil locations
CS
EY
EX

## Slide 21: Broad band injection shows magnetic resonances
DARM
Magnetometer

## Slide 22: Weekly magnetic injection results (Philippe N.)

## Slide 23: Weekly magnetic injection

## Slide 24: I.
LLO

## Slide 25
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 26: Effects of environment on DARM are consistent with PEM coupling functions
Range reduction from LHO HVAC is roughly predicted from estimates for HAM5/6.
Range reduction from rain at LHO is roughly consistent with PEM coupling functions, though underestimated by 2 at 48 Hz
Range reduction from wind at LHO is roughly consistent with PEM coupling functions.
LLO DARM glitch from thunder near S190510g is correctly predicted from PEM injection coupling functions.

## Slide 27
Thunder associated with S190510g in DARM and accelerometer

## Slide 28
Automated DQR results: signal in DARM is well predicted
Similar automated calculations are made for every PEM trigger around candidates

## Slide 29
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
New techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 30: I. New techniques for localizing vacuum enclosure coupling
1. Impulse injections at multiple sites, monitor DARM and accelerometers for consistency of propagation delays, amplitude ratios, and resonance structure.
2. Beating injections producing location-dependent phase of beat-envelope. Coupling site is near accelerometer that best matches phase of beat-envelope in DARM. Better for narrow-band coupling
When you shake HAM5, HAM6 and other places shake also, so other techniques are needed to narrow potential coupling sites

## Slide 31
Soft hammer strike on -Y reduction flange, 70-200 Hz band
Soft hammer strike on end cap, 70-200 Hz band
DARM
Red and Blue: manifold accelerometers
BSC 5 accelerometers
1
2
2
1. Impulse injected onto vacuum enclosure at multiple sites
  consistency between accelerometer and DARM arrival times
  consistency between accelerometer/DARM amplitude ratios
  consistency between accelerometer and DARM frequency structure
Impulses propagate at 100s of meters per second

## Slide 32
1. Impulse injected onto vacuum enclosure at multiple sites
  consistency between accelerometer and DARM arrival times
  consistency between accelerometer/DARM amplitude ratios
  consistency between accelerometer and DARM frequency structure
DARM
Good Accelerometer match
Poor match

## Slide 33
2. Separated beating injections to produce location-dependent beat-envelope phase
  Accelerometer and DARM consistency for acoustic injections
  Accelerometer and DARM consistency for vacuum enclosure shaking
DARM
HAM6 S
BSC3 Y
BSC3 accelerometer doesn’t match DARM envelope but HAM6 septum does
Strips of spectrograms with 20s 50, 50.05 Hz beats followed by 50, 50.01 Hz 100s beats

## Slide 34
Frequency sweep to reduce chance of accidental alignment for non-coupling locations
2. Double injections to produce location-dependent beat-envelope phase
  Accelerometer and DARM consistency for acoustic injections
  Accelerometer and DARM consistency for vacuum enclosure shaking

## Slide 35
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 36
L1 DARM
4 hours
TMX noise: L1 X_TR_A_NSUM
signal from transmission monitor quad photodiode
L1 range
TMX noise
Arch scattering noise, possibly from EY
TMX noise
Arch scattering noise, possibly from EY
May 15
May 3
Worst source of range drops: TMSX noise at EX at LLO

## Slide 37
DARM
overlap
TMSX beam-axis OSEM (SD)
Test Mass
Anamaria Effler
Noise in DARM modulated at TMSX suspension frequencies
3.8 Hz
0.48 Hz
0.48 Hz
Angular motion of the TMSX could produce high frequencies in DARM if the scattered light only couples back into the arm cavity over a couple of percent of the angular range (i.e. intensity noise from varying mode matching).

## Slide 38
Test Mass
Transmission monitor
Anamaria Effler
Transmission monitor during lock

## Slide 39
Alena Ananyeva, Eduardo Sanchez and the SLiC group
TMS shroud

## Slide 40
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 41
Soft hammer strike on -Y reduction flange, 70-200 Hz band
Soft hammer strike on end cap, 70-200 Hz band
DARM time and amplitude are consistent with red and blue manifold accelerometers: DARM crosses 1 about the same time red or blue cross 8000 for these and other impulses
Green BSC chamber accelerometers are not consistent in time or amplitude with DARM signal
DARM
Red and Blue: manifold accelerometers
BSC 5 accelerometers
1
1
2
2
Figure 1b. LLO EY: accelerometer signals are most consistent with coupling site in manifold
1
2
Manifold
BSC5 –ETMY
1
2
2
Impact
Impact
Impulse injections suggest EY coupling site is in manifold near P-cal periscope

## Slide 42: Plans: complete P-cal periscope baffling
Alena Ananyeva, Eduardo Sanchez and the SLiC group

## Slide 43: Nozzle baffles
Alena Ananyeva, Eduardo Sanchez and the SLiC group

## Slide 44
LLO EY (2 views)
LHO EX (2 views)
LHO EY (2 views)
Fairly bright retro reflections from back ring of periscope at LLO-EY (yellow arrows)
LHO EX has similar glints, without the coupling to DARM.
gate valve
(gets pulled up))
Similar glints can be seen at LHO EY
But reflections from LLO EY periscope are not unique

## Slide 45: Angle P-cal beam windows so they won’t retro-reflect
Alena Ananyeva, Eduardo Sanchez and the SLiC group

## Slide 46
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 47
Soft hammer strike on SRTube by HAM5, 70-200 Hz band
Soft hammer strike on HAM6 end cap, 70 – 200 Hz band
Blue HAM 6 accelerometers are not consistent in amplitude or time with effect in DARM, while HAM5 and septum accelerometers are.
For example, DARM (top trace) crosses 1 about the same time as The green septum accelerometers cross 15 for these and other impulses.
Late arrival of signal on ISI GS13s indicates that the effect in DARM is associated with the vacuum enclosure, not motion of table.
DARM
HAM5 (Red)
HAM6 (Blue) accelerometers
Septum accelerometers
HAM6
HAM5
Septum
1
1
1
2
3
2
2
3
ISI GS13s
Figure 1a. L1 coupling time and amplitude consistent with septum or HAM5 walls, not HAM6 walls or ISI tables
Bellows
Impulse injections suggest coupling at LLO & LHO HAM5/6 septum

## Slide 48
Impulse signal in H1 DARM generated by tapping HAM 5 +X reduction flange
For comparison, impulse signal in DARM (first white arrow) is pasted just before signal in accelerometer (second white arrow). This HAM5 accelerometer is not a good match
The best match to the resonance structure in H1 DARM is with this beam-line axis HAM5/6 septum accelerometer, suggesting that the septum vibration is the source of the DARM noise.
Not best match
H1
Not best match
Not best match
Not best match
Impulse injection resonance structure suggest coupling at LHO HAM5/6 septum

## Slide 49
Impulse signal in L1 DARM
For comparison, impulse signal in DARM (first white arrow) is pasted just before signal in accelerometer (second white arrow). This HAM6 accelerometer is not a good match
The best match to the resonance structure in L1 DARM is with this beam-line axis HAM5/6 septum accelerometer, suggesting that the septum beam-line motion is the source of the DARM noise.
L1
Not best match
Not best match
Not best match
Not best match
Not best match
Not best match
Impulse injection resonance structure suggest coupling at LLO HAM5/6 septum

## Slide 50: HAM5/6 coupling at the septum window? Scatter from beam spot seen at LHO but not LLO

## Slide 51: Angled septum ports to be installed in October vent
Alena Ananyeva, Eduardo Sanchez and the SLiC group

## Slide 52
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 53: LHO 48 Hz peak

## Slide 54: LHO 48 Hz peak
Frequency sweep to reduce chance of accidental alignment for non-coupling locations
Shaker injections: some sensitivity at BSC2
Impulse injections: point towards vertex, but hard to tell because too short
Beating shaker injections: HAM3 area most consistent with DARM

## Slide 55: Scattering from HAM3?
Bellows?
Door nozzles and windows (door removed here)?
Looking into HAM3 from Beamsplitter

## Slide 56
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO

## Slide 57: Reduction in jitter mainly due to reduced cooling water, some from optic damping
O2
O3

## Slide 58: Identifying sources of jitter peaks

## Slide 59: 5 minute optic damping system

## Slide 60: Optic damping difference

## Slide 61
L1
Current LLO jitter noise

## Slide 62
Current LHO jitter noise

## Slide 63
a
Results from the pre-run PEM injection program
  Vibration
  RF
  Site activities
  Magnetic
Big coils and magnetic monitoring program
Tests of coupling factors for thunder coupling etc.
Two new techniques for localizing vacuum enclosure coupling sites
  Impulse propagation delay, amplitude, & frequency structure
  Beating injections with location-dependent phase of envelope
Worst coupling sites and mitigation plans
  TMSX, LLO
  EY, LLO
  HAM5,6 LHO, LLO
  48 Hz LHO
  IO Jitter, LHO, LLO