## Slide 1: CHARACTERISATION AND CONTROL OF THE Auxiliary laser PZT
Deeksha Sabhari

## Slide 2
"Multicolor cavity metrology," Journal of the Optical Society of America A Vol. 29, Issue 10 (2012)

## Slide 3: Control Loop
AUXILIARY LASER SYSTEM

## Slide 4: Measuring the transfer function

## Slide 5: MEASUREMENTS
PZT is excited using a swept sine from the AG4395, and the beatnote of the AUX and PSL is observed

## Slide 6: Uncertainty
PZT is excited using a swept sine from the AG4395, and the beatnote of the AUX and PSL is observed.

## Slide 7: Why do we need to increase the control loop’s gain?

## Slide 8
Frequency[Hz]

## Slide 9
Frequency[Hz]

## Slide 10: FUTURE WORK
Vectfit
Filters for control
Analysing loop stability

## Slide 11: SUMMARY

## Slide 12: THANK YOU
My mentors - Anchal Gupta, Francisco Salces-Carcoba, Rana Adhikari
Alan J Weinstein, LIGO and NSF
The lovely people at the 40m – Tega, Yehonathan, Yuta, and Jan Carlo!

## Slide 13: References
Kiwamu Izumi, Koji Arai, Bryan Barr, Joseph Betzwieser, Aidan Brooks, Katrin Dahl, Suresh Doravari, Jennifer C. Driggers, W. Zach Korth, Haixing Miao, Jameson Rollins, Stephen Vass, David Yeaton-Massey, and Rana X. Adhikari, Multicolor cavity metrology, J. Opt. Soc. Am. A 29, 2092-2103 (2012)
Venugopalan, Gautam (2022) Prototype Interferometry in the Era of Gravitational Wave Astronomy. Dissertation (Ph.D.), California Institute of Technology. doi:10.7907/ttwp-1h12.
Karl Johan ˚Astr¨om, Richard M. Murray, Feedback Systems: An Introduction for Scientists and Engineers, Princeton University Press